## Sheet1
Parameter | Current evidence | Status
Transformer | EPM standard 5 kVA, 1φ, 7620/240-120 V | Strong
Secondary current | 20.8 A nominal, 25 A at 1.2 factor | Strong
Likely MV system | 13.2 kV line-line, 7.62 kV phase-neutral | Strong regional evidence, site not confirmed
ACSR #2 resistance | 0.832 Ω/km @20°C | EPM standard
ACSR 1/0 resistance | 0.5228 Ω/km @20°C | EPM standard
ACSR 2/0 resistance | 0.4148 Ω/km @20°C | EPM standard
ACSR 4/0 resistance | 0.2609 Ω/km @20°C | EPM standard